Workplace Inspection Checklist

|  | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Fire |  |  |  |
|  | - Extinguishers are in place |  |  |  |
|  | - Are clearly marked |  |  |  |
|  | - Have been serviced in the past 6 months |  |  |  |
|  | - Area around extinguisher is clear for a 1-meter radius |  |  |  |
|  | - Fire exit signs are in working order |  |  |  |
|  | - Exit doors are not blocked |  |  |  |
|  | - Exit doors can easily be opened |  |  |  |
|  | - Fire alarm is in working order |  |  |  |
|  | - Emergency plan is displayed |  |  |  |
|  | - Emergency drill caried out within the last 6 months |  |  |  |
| 2 | Electrical |  |  |  |
|  | - No broken plugs, sockets or switches |  |  |  |
|  | - No frayed or damaged leads |  |  |  |
|  | - Portable power tools in good condition |  |  |  |
|  | - No temporary leads on the floor |  |  |  |
|  | - Testing and tagging of electrical items have been attended within the last 12 months |  |  |  |
| 3 | General Lighting |  |  |  |
|  | - There is adequate illumination in working areas |  |  |  |
|  | - There is good natural lighting |  |  |  |
|  | - There is no direct or reflected glare |  |  |  |
|  | - Light fittings are in good working condition and are clean |  |  |  |
|  | - Emergency lighting is operational |  |  |  |
| 4 | Walkways |  |  |  |
|  | - No oil or grease |  |  |  |
|  | - Walkways are clearly marked |  |  |  |
|  | - Walkways are clear of obstructions |  |  |  |
|  | - There is unobstructed vision at intersections |  |  |  |
|  | - Stairs not blocked and are in good condition |  |  |  |

|  | Item | Yes | No |  | N/A |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 5 | Rubbish |  |  |  |  |  |
|  | - Bins are located at suitable points |  |  |  |  |  |
|  | - Bins are not overflowing |  |  |  |  |  |
|  | - Bins are emptied regularly |  |  |  |  |  |
| 6 | Work Benches |  |  |  |  |  |
|  | - Clear of rubbish |  |  |  |  |  |
|  | - Tools are stored properly |  |  |  |  |  |
|  | - Adequate work height |  |  |  |  |  |
|  | - No sharp edges |  |  |  |  |  |
| 7 | Storage |  |  |  |  |  |
|  | - Materials stored in racks in a safe manner |  |  |  |  |  |
|  | - Pallets are in good condition (no broken wood) |  |  |  |  |  |
|  | - Floor around racking is clear of rubbish or obstacles |  |  |  |  |  |
|  | - Racking is in good condition, no damaged uprights, beams etc |  |  |  |  |  |
| 8 | Chemicals |  |  |  |  |  |
|  | - SDS for all chemicals |  |  |  |  |  |
|  | - SDS Register is available and up to date |  |  |  |  |  |
|  | - Containers are clearly and accurately labelled |  |  |  |  |  |
|  | - All chemicals are stored in accordance with the SDS |  |  |  |  |  |
| 9 | First Aid |  |  |  |  |  |
|  | - First aid kits and contents clean and orderly |  |  |  |  |  |
|  | - First aid kit is adequately stocked (as per the Schedule in the kit) |  |  |  |  |  |
|  | - Easy access to first aid kits |  |  |  |  |  |
|  | - All employees are aware of location of first aid kits |  |  |  |  |  |
|  | - At least one worker on site with current Senior First Aid cert |  |  |  |  |  |
| 10 | Floors |  |  |  |  |  |
|  | - Even surface with no large cracks, holes or trip hazards |  |  |  |  |  |
|  | - Floors are not obstructed |  |  |  |  |  |
|  | - Floors are free from grease, oil, etc |  |  |  |  |  |

|  | Item | Yes | No | N/A |  |
| --- | --- | --- | --- | --- | --- |
| 11 | Office |  |  |  |  |
|  | - No exposed leads |  |  |  |  |
|  | - Air conditioning working adequately |  |  |  |  |
|  | - Filing cabinets are stable and in good repair |  |  |  |  |
|  | - Workers' chairs at correct height (knees at right angles, feet flat) |  |  |  |  |
|  | - Workers' monitors correct distance (arm’s length away when seated) |  |  |  |  |
|  | - Workers' monitors correct height (eyes in line with top of screen) |  |  |  |  |
|  | - Workers' mouse located beside keyboard (allows relaxed arms and wrists) |  |  |  |  |
|  | - Workers' keyboard located near edge of desk (allows relaxed arms) |  |  |  |  |
| 12 | Machines |  |  |  |  |
|  | - Power equipment maintenance carried out |  |  |  |  |
|  | - Power equipment clean |  |  |  |  |
|  | - All guarding in place and interlocks working |  |  |  |  |
| 13 | Display Material |  |  |  |  |
|  | - WHS policy statement signed by Managing Director and displayed on notice boards |  |  |  |  |
|  | - Return to work program signed by Managing Director and displayed on notice boards |  |  |  |  |
|  | - "No smoking" signs are displayed |  |  |  |  |
|  | - "Staff only" or "Restricted area" signs are displayed in relevant areas |  |  |  |  |
|  | - "Report that Hazard" poster displayed |  |  |  |  |
|  | - "Manual Handling" poster is displayed in warehouse area |  |  |  |  |
|  | - Safety noticeboard is available and up to date |  |  |  |  |
| 14 | WHS Information |  |  |  |  |
|  | - WHS Manual available to workers |  |  |  |  |
|  | - Incident report form available |  |  |  |  |
|  | - Hazard report forms available |  |  |  |  |
|  | - Emergency evacuation plan displayed |  |  |  |  |
|  | - Training records up to date |  |  |  |  |

Additional comments or actions required:

| Signed: |  | Date: |  |
| --- | --- | --- | --- |
| Copies sent to: |  |  |  |